HHWSC Board Meeting June 26, 2025

Meeting called to order at 6:32pm.

Attending:    Mike Thering, Shawn Young, Marilyn Boyer, Gretchen Heber.

Absent: Kate Evans.  Also attending, Samantha Jeffrey and Jessie Pritchett.

The board approved the agenda for today’s meeting and the minutes from the May 22, 2025 community meeting.

Treasury report from Marilyn Boyer:

Operating #3469:  $33,549.87

Maint MM #3929:  $25,560.96

Escrow #9547:      $7,788.27

Expenses paid:

5/21: Nexbill pay $35.23 (Merchant services)

5/28: Zoom $17.04 (Monthly service)

6/6: The Blessing/Liberty Hill Bookkeeping $151.50 (Mar/Apr recon)

6/11: Spicewood Utilities $3,226.57  (May operations)

6/20: PEC $263.98 total ($210.44 and $53.54)

Mike introduces Gretchen Heber as our newest board member who will help with web design and member communications.

Samantha from SUS says that the DG high water use has been resolved.  The fire suppression system was cycling once per day rather than once per month at 900 gallons per cycle.  Somebody from SUS will read their meter again tomorrow.

Curtis Jeffrey of SUS will check the depth of Well #4.

Water loss is lower this month and the average use is 10K per day.

Jessie submitted the P&L: May net income is $3,341.20 and the year-to-date income is $9,543.30.

TWDB close out: Mike has sent them all requested information and is waiting. He will contact Jane Martinez tomorrow for an update.

As soon as TWDB approves the “closeout” we are due approximately $798.00 from the Escrow account and the balance will be returned.

Electronic meters are still being evaluated.

We may need to pull the pump from Well #4 in order to add a ¼” pipe to measure water depth.  The well houses will need to be removed.

Gretchen created a logo for the web site and will also create a new email address.

She will contact Samantha for the members’ email addresses. Gretchen will also do a quarterly newsletter and look at Doublehorn’s template for additional ideas.

Developers:

22502 Hwy 71 (HW) will redesign his plans to allow for a standard installation.

22518 Hwy 71 (TW)  wants to do a granite business that could possibly use 30K per day of water. Mike sent him the non-standard installation information and has not heard anything back. Mike let Travis know that our water system currently does not have the capacity to support a business like that.

3717 Hart Hollow has several ideas on how to develop but nothing definite yet. There is a question by current owner wondering if the previous owner had any water rights.

Mike is going to check with TRWA if we can legally turn off water to commercial excessive users and also if we can apply different rates for commercial.

Next meeting is July 24,2025.

Meeting adjourned at 7:35pm